## Slide 1
Esther Camacho1, Mireia Ferrer1, Álex Sánchez1,2, Angel Blanco1,2, Berta Miró1 1 Unitat d’Estadística i Bioinformàtica (UEB) VHIR 2 Departament de Genètica Microbiologia i Estadística, UB
INTRODUCTION TO 'NEXT GENERATION SEQUENCING'
Notes: https://uebvhir.github.io/teaching.html

## Slide 2
Introduction to NGS
First Generation Sequencing
Second Generation Sequencing
Third Generation Sequencing
Sequencing generation face to face
Applications of NGS techniques
A (very) brief introduction to DoE

## Slide 3
Personalized medicine era
Diagnostic
Susceptibility/risk (prevention)
Prognostic
Predictive (response)
The right therapeutic strategy for the right person at the right time
Introduction to NGS
https://iipm.medicinedept.iu.edu/
https://www.pharmgkb.org/
Notes: Qué necesidad hay de analitzar datos de NGS en el campo de la medicina personalizada

## Slide 4
Personalized medicine era
- Depending on the goal of the analysis and the sample characteristics, we will choose a different omic approach and perform a different bioinformatic analysis.
Introduction to NGS
Satam, H.; Joshi, K.; Mangrolia, U.; Waghoo, S.; Zaidi, G.; Rawool, S.; Thakare, R.P.; Banday, S.; Mishra, A.K.; Das, G.; et al. Next-Generation Sequencing Technology: Current Trends and Advancements. Biology 2023, 12, 997. https://doi.org/10.3390/biology12070997
Notes: Qué necesidad hay de analitzar datos de NGS en el campo de la medicina personalizada

## Slide 5
Genomics is a branch of genetics that enables the study of genomes of whole organisms.
  It differs from “classical genetics” in that it considers the hereditary material of an organism in global rather than one gene or one gene product at a time.
Gregor Mendel
Introduction to NGS

## Slide 6
Introduction to NGS
Deoxyribose nucleic acid (DNA) 1953
Polymerase Chain Reaction (PCR)
1983
Notes: Qué precedentes a la secuenciación masiva hubo
PCR-Kary Mullis
En 1953 James Watson y Francis Crick descubrieron la doble hélice gracias a la puesta en común de varios descubrimientos entre los que destacan las imágenes de rayos X de alta resolución de las fibras de ADN.
James Watson recibió el prestigioso galardón junto a sus colegas Maurice Wilkins y Francis Crick en 1962
In 1983, Kary Mullis, PhD, a scientist at the Cetus Corporation, conceived of PCR as a method to copy DNA and synthesize large amounts of a specific target DNA
PCR was awarded the 1993 Nobel Prize in Chemistry.

## Slide 7: Introduction to NGS
Human Genome Project
The Human Genome Project (HGP) goal was the complete mapping and understanding of all the genes of human beings.
Begin in 1990
First draft in February 2001
full sequence April 2003
It catalyzes the developing and improving of sequencing techniques
Notes: El Proyecto Genoma Humano (PGH) fue un proyecto internacional con el objetivo fundamental de determinar la secuencia del ADN del genoma humano.
En el año 2003, se completó la secuencia del genoma humano. El proyecto, dotado con 3000 millones de dólares, fue fundado en 1990 bajo la dirección del doctor Francis Collins, quien lideraba el grupo de investigación público. Debido a la amplia colaboración internacional, a los avances en el campo de la genómica, así como los avances en la tecnología computacional, un borrador inicial del genoma fue terminado en el año 2000 finalmente el genoma completo fue presentado en abril del 2003. Un proyecto paralelo se realizó fuera del gobierno por parte de la Corporación Celera. La mayoría de la secuenciación se realizó en las universidades y centros de investigación de Estados Unidos, Canadá, Nueva Zelanda, Reino Unido y España.

## Slide 8: Introduction to NGS
Genome sequencing
Genome sequencing is figuring out the order of DNA nucleotides, or bases, in a genome—the order of As, Cs, Gs, and Ts that make up an organism's DNA.

## Slide 9: Introduction to NGS
Genome sequencing
Genome sequencing is figuring out the order of DNA nucleotides, or bases, in a genome—the order of As, Cs, Gs, and Ts that make up an organism's DNA.
3,054,815,472-bp (nuclear)
16,569-bp (mitocondrial)
TOTAL: 3,054,832,041-bp
Sergey Nurk et al., The complete sequence of a human genome.Science376,44-53(2022).DOI:10.1126/science.abj6987

## Slide 10: Introduction to NGS
Why is genome sequencing so important?
  How the genome as a whole works: how genes work together to direct the growth, development and maintenance of an entire organism.
  Find genes much more easily and quickly.
  Genes account for less than 25 percent of the DNA in the genome, and so knowing the entire genome sequence will help scientists study the parts of the genome outside the genes.

## Slide 11: Introduction to NGS
Cost of sequencing
Cost of human genome sequence:
  HGP: 1 - 3x1012$
  2006: 14x106$
  2016: 1000-4000$
  2019: 200 – 500$
https://www.genome.gov/about-genomics/fact-sheets/Sequencing-Human-Genome-cost

## Slide 12
Introduction to NGS
First Generation Sequencing
Second Generation Sequencing
Third Generation Sequencing
Sequencing generation face to face
Applications of NGS techniques
A (very) brief introduction to DoE

## Slide 13: First Generation Sequencing
http://www.yourgenome.org/stories/third-generation-sequencing
Sanger sequencing
Frederick Sanger received two Nobel prizes (in the same category), for his work on protein sequencing and DNA sequencing
Method of DNA sequencing based on the selective incorporation of chain terminating dideoxynucleotides by DNA polymerase during in vitro DNA replication. Developed by Frederick Sanger and colleagues in 1977, it was the most widely used sequencing method for approximately 25 years.

## Slide 14: First Generation Sequencing
Sanger sequencing. How it works?
A DNAp enzyme is used to replicate a ssDNA. In the mix reaction, there exist normal and modified nucleotides.
Random incorporation of modified nucleotides stops the synthesis reaction.
Each generated fragment will have a different length that could be distinguish by gel electrophoresis.
https://www.youtube.com/watch?v=vK-HlMaitnE
<1kb read
Notes: Repasar vídeo de Sanger sequencing

## Slide 15
Introduction to NGS
First Generation Sequencing
Second Generation Sequencing
Third Generation Sequencing
Sequencing generation face to face
Applications of NGS techniques
A (very) brief introduction to DoE

## Slide 16: Second Generation Sequencing
Why second generation sequencing?
Disadvantage of Sanger sequencing: low sequence output
  using of gels or polymers as separation media
  limited number of samples which could be handled in parallel
  difficulties with automation of the sample preparation
These limitations triggered the efforts to develop new techniques

## Slide 17: Second Generation Sequencing
Main characteristics of NGS:
high speed and throughput
shorter reads
accuracy
much higher degree of sequence coverage
Huge data storage demands
Notes: Sanger (~900 nt)
Short reads (~75-150 nt)
Long reads (~20.000 nt)

## Slide 18
Illumina
Thermofisher
ROCHE
GS Junior 454
GS FLX+ 454
IonPGM
Ion Gene Studio S5 PrimeSystem
x
High throughput Benchtop
x
Instruments
Second Generation Sequencing
Ion Torrent Genexus
Notes: Estas son las compañías líderes en secuenciación de segunda generación.
La UAT dispone de las plataformas de Roche.  preguntar a Mireia si això és cert ara mateix
Todas ellas han sacado al mercado máquinas que permiten el abordaje de proyectos complejos basados en la secuenciación, pero también, cada compañía dispone de máquinas de menor tamaño, tamaño poyata, idóneoa para laboratorios pequeños, focalizados para el uso de aplicaciones clínicas, muy útiles para la realización de proyectos piloto o proyectos menos complejos, ambiciosos pero aún asÍ con mayor rendimiento y mejor coste que Sanger. Así cabe mencionar el Junior, Miseq y el Ion Torrent.

## Slide 19
Basic NGS workflow.
1. Library Preparation
2. Clonal amplification
3. Sequencing
It is prepared by random fragmentation of DNA or cDNA sample, followed by adapter ligation. Adapter-ligated fragments are then PCR amplified and gel purified
Each DNA fragment is amplified millions of times.
The nucleotides incorporated are read by the detector
Second Generation Sequencing

## Slide 20
Depending on the final application and method used for sequencing, different kits are available
Useful for multiplexing samples
Second Generation Sequencing
Library preparation:
Notes: Sample multiplexing, also known as multiplex sequencing, allows large numbers of libraries to be pooled and sequenced simultaneously during a single run on Illumina instruments. Sample multiplexing is useful when targeting specific genomic regions or working with smaller genomes. Pooling samples exponentially increases the number of samples analyzed in a single run, without drastically increasing cost or time.
With multiplex sequencing, individual "barcode" sequences are added to each DNA fragment during next-generation sequencing (NGS) library preparation so that each read can be identified and sorted before the final data analysis. These barcodes, or index adapters, can follow one of two major indexing strategies depending on your library prep kit and application.

## Slide 21
Second Generation Sequencing
Library preparation: Too many methods / kits available
Hrdlickova R, Toloue M, Tian B. RNA-Seq methods for transcriptome analysis. Wiley Interdiscip Rev RNA. 2016;8(1):10.1002/wrna.1364.

## Slide 22
Second Generation Sequencing
Library preparation: Too many methods / kits available
Hrdlickova R, Toloue M, Tian B. RNA-Seq methods for transcriptome analysis. Wiley Interdiscip Rev RNA. 2016;8(1):10.1002/wrna.1364.

## Slide 23
Second Generation Sequencing
Library preparation: Too many methods / kits available
Hrdlickova R, Toloue M, Tian B. RNA-Seq methods for transcriptome analysis. Wiley Interdiscip Rev RNA. 2016;8(1):10.1002/wrna.1364.

## Slide 24
Second Generation Sequencing
Library preparation: Too many methods / kits available
Hrdlickova R, Toloue M, Tian B. RNA-Seq methods for transcriptome analysis. Wiley Interdiscip Rev RNA. 2016;8(1):10.1002/wrna.1364.
Notes: Hay muchos pipelines de preparación de librerías y distintos kits, aunque todos sigan el mismo principio básico

## Slide 25
Second Generation Sequencing
Library preparation: Too many methods / kits available
Hrdlickova R, Toloue M, Tian B. RNA-Seq methods for transcriptome analysis. Wiley Interdiscip Rev RNA. 2016;8(1):10.1002/wrna.1364.

## Slide 26
Second Generation Sequencing
Library preparation: Too many methods / kits available
Hrdlickova R, Toloue M, Tian B. RNA-Seq methods for transcriptome analysis. Wiley Interdiscip Rev RNA. 2016;8(1):10.1002/wrna.1364.

## Slide 27
Second Generation Sequencing
Clonal amplification: Bridge PCR (Illumina):

## Slide 28
Second Generation Sequencing
Clonal amplification: Bridge PCR (Illumina)

## Slide 29
Second Generation Sequencing
Clonal amplification: Bridge PCR (Illumina):
SYBR QC: Ensure successful amplification before continuing
  GOAL: Visually confirm successful cluster generation and optimal density before continuing
– Too Sparse: Loss of valuable real estate on flow cell
– Too Dense: Analysis problems
Notes: fluorescent DNA binding dye

## Slide 30
-1 starting effective fragment per microreactor
- ~106 microreactors per ml
- All processed in parallel
(Clonal amplification)
High-speed
shaker
For emPCR based systems (Ion/PGM, 454)
Second Generation Sequencing
Clonal amplification:

## Slide 31
Limited by the fragment length than can efectively “bridge”
Labelled nucleotides are not incorporated as efficiently as native ones
Short sequences
Scalable set of machines suitable for nearly all the applications
High throughput
Second Generation Sequencing
Sequencing: Illumina (dye terminator nt, sequencing by synthesis)

## Slide 32
Clonal amplification??
No empty beads
No beads containing more than one amplified fragment
Titration: constant number of beads vs. different DNA starting quantities
Optimal enrichment: one single fragment amplified millions of times in one single bead
Second Generation Sequencing
Clonal amplification:
For emPCR based systems (Ion/PGM, 454)

## Slide 33
Illumina workflow.
Second Generation Sequencing
https://www.youtube.com/watch?annotation_id=annotation_1533942809&feature=iv&src_vid=HMyCqWhwB8E&v=fCd6B5HRaZ8

## Slide 34
Beads containing the clonally amplified library are loaded onto the chip.
The chip is run in the machine
Second Generation Sequencing
Sequencing: Ion S5/PGM

## Slide 35
Second Generation Sequencing
Sequencing: Ion Torrent

## Slide 36
Second Generation Sequencing
Sequencing: Ion Torrent
https://www.youtube.com/watch?v=zBPKj0mMcDg&ab_channel=ThermoFisherScientific

## Slide 37
Small NGS platforms
GS Junior Plus (Roche)
Read Length: 700 pb
Output: 70 Mb
Running time: 18 hours
MiniSeq (Illumina)
Read Length: 2x150 bp
Output: 0.6 - 7.5 Gb
Running time: 4 - 24 hours
Ion Torrent PGM (LifeTechnol.)
Read length: 200 to 400 bp
Output: 30Mb – 2Gb
Running time: 2,3 - 4,4 hours
2.016
Applications:
Amplicon sequencing
Targeted sequencing (DNA / RNA)
Metagenomics (16S)
Second Generation Sequencing
Source: Supplier webpage

## Slide 38
Read length: 2x150 bp
Output: 6.000 Gb
Run time: 44 hours
Ion Gene Studio S5 Prime System
Source: Supplier webpage
Read length: Up to 200 bp
Output: 50Gb/day (2 chips)
Run time: 8,5 hours
High throughput NGS Platforms
NGS platforms
Read length: 700 bp
Output: 1 Mb
Running time: 23 hours
GS FLX+
2.016
Second Generation Sequencing
Applications:
Amplicon sequencing
Targeted sequencing
Metagenomics (16S)
Genomes
Exomes, transcriptome

## Slide 39
Source: Supplier webpage
High throughput NGS Platforms
Second Generation Sequencing

## Slide 40
Source: Supplier webpage
High throughput NGS Platforms
Second Generation Sequencing

## Slide 41
Source: Supplier webpage
High throughput NGS Platforms
Second Generation Sequencing

## Slide 42
Introduction to NGS
First Generation Sequencing
Second Generation Sequencing
Third Generation Sequencing
Sequencing generation face to face
Applications of NGS techniques
A (very) brief introduction to DoE

## Slide 43
Single molecule sequencing
Advantages:
  Less sample preparation (no PCR)
  No amplification
    No PCR errors
    Fewer contamination issues
    No GC-bias
    Analyze every sample (unPCRable, unclonable)
    Analyze low quality DNA (forensics samples, archeological)
  Absolute quantification
  Sequence RNA directly
Third Generation Sequencing

## Slide 44
Helicos Genetic Analysis system
Workflow similar to Illumina, but
without amplification:
  relative slow and expensive
  short reads
  single molecule sequencing
Third Generation Sequencing

## Slide 45
Helicos Genetic Analysis system
Workflow similar to Illumina, but
without amplification:
  relative slow and expensive
  short reads
  single molecule sequencing
Third Generation Sequencing

## Slide 46
Sequel System (Pacific bioscience)
Quick library construction (< 3 hours)
Run time: from 30 min to 30 hours
Sequencing by synthesis
No library amplification
Long reads: 5 Kb – 20 Kb
Third Generation Sequencing
Source: Supplier webpage

## Slide 47
Sequel System (Pacific bioscience)
Quick library construction (< 3 hours)
Run time: from 30 min to 30 hours
Sequencing by synthesis
No library amplification
Long reads: 5 Kb – 20 Kb
Third Generation Sequencing
Source: Supplier webpage

## Slide 48
Third Generation Sequencing
Sequel System (Pacific bioscience)
https://www.youtube.com/watch?v=_lD8JyAbwEo&feature=emb_rel_end&ab_channel=PacBio

## Slide 49
Third Generation Sequencing
Sequel System (Pacific bioscience)
https://ngisweden.scilifelab.se/technologies/pacific-biosciences/pacbio-sequel-ii/

## Slide 50
Oxford nanopore
alpha-hemolysin
Heptameric protein with a pore of inner diameter 1nm
Pore diameter same scale of DNA
Protein nanopores can be adapted.
The company has optimised its large-scale production.
DNA, RNA, miRNA and protein analysis
Changes in membrane voltage are measured
Third Generation Sequencing

## Slide 51
Oxford nanopore
Simple 10 minute sample prep available
Read length: Ultra long reads (2 Mb)
Very fast, but high error rates.
Easy to work in the field (Ebola viruses sequenced in Guinea 2 days after sample collection, Quick J, 2016)
Third Generation Sequencing
MinION GridION PromethION

## Slide 52
Oxford nanopore
https://www.youtube.com/watch?v=GUb1TZvMWsw
Third Generation Sequencing

## Slide 53
Pacific
Bioscience
Oxford Nanopore
Technologies
3rd generation instruments
High througput
Sequel system
Benchtop
PromethION GridION minION
Third Generation Sequencing
Notes: Estas son las compañías líderes en secuenciación de segunda generación.
La UAT dispone de las plataformas de Roche.
Todas ellas han sacado al mercado máquinas que permiten el abordaje de proyectos complejos basados en la secuenciación, pero también, cada compañía dispone de máquinas de menor tamaño, tamaño poyata, idóneoa para laboratorios pequeños, focalizados para el uso de aplicaciones clínicas, muy útiles para la realización de proyectos piloto o proyectos menos complejos, ambiciosos pero aún asÍ con mayor rendimiento y mejor coste que Sanger. Así cabe mencionar el Junior, Miseq y el Ion Torrent.

## Slide 54
Introduction to NGS
First Generation Sequencing
Second Generation Sequencing
Third Generation Sequencing
Sequencing generation face to face
Applications of NGS techniques
A (very) brief introduction to DoE

## Slide 55: Sequencing Generation face to face
http://www.yourgenome.org/stories/third-generation-sequencing
https://www.mdpi.com/2079-7737/12/7/997
Speed variation by technology

## Slide 56: Sequencing Generation face to face

## Slide 57: Sequencing Generation face to face

## Slide 58: Sequencing Generation face to face

## Slide 59: Sequencing Generation face to face

## Slide 60: Sequencing Generation face to face

## Slide 61
1. DNA fragmentation.
1. DNA fragmentation
2. Vector cloning, bacterial transformation and growth, DNA isolation and purification
2. In vitro adaptor ligation + clonal amplification
3. Sequencing (chain-terminating ddnucleotides)
CTATGCTCG
ssDNA
DNA primer
Polimerase
dNTPs
Fluorescent ddNTPs
Capillary electrophoresis
(1 Sequence/Capilar. Up to 384 DNA samples in a single run)
3. Massive paralel sequencing
4. Image processing and data analysis
4. Image processing
1. DNA fragmentation
2. y 3. in vitro adaptor ligation. NO AMPLIFICATION.
Massive parallel sequencing.
FGS
SGS
TGS
4. Image processing and data analysis.
Sequencing Generation face to face

## Slide 62
Sequencing Generation face to face
Release dates vs Machine outputs per run
https://genohub.com/ngs-instrument-guide/

## Slide 63
Introduction to NGS
First Generation Sequencing
Second Generation Sequencing
Third Generation Sequencing
Sequencing generation face to face
Applications of NGS techniques
A (very) brief introduction to DoE

## Slide 64
Applications of NGS techniques

## Slide 65
Applications of NGS techniques
Satam, H.; Joshi, K.; Mangrolia, U.; Waghoo, S.; Zaidi, G.; Rawool, S.; Thakare, R.P.; Banday, S.; Mishra, A.K.; Das, G.; et al. Next-Generation Sequencing Technology: Current Trends and Advancements. Biology 2023, 12, 997. https://doi.org/10.3390/biology12070997

## Slide 66
Applications of NGS techniques

## Slide 67
Applications of NGS techniques
https://genohub.com/recommended-sequencing-coverage-by-application/

## Slide 68
Applications of NGS techniques
https://genohub.com/recommended-sequencing-coverage-by-application/
Depth of Coverage: average number of reads that align to, or "cover," known reference bases.
  30x = each base has been covered by 30 sequences (in average)

## Slide 69
Applications of NGS techniques
Category | Detection or Application | Recommended Coverage (x) or Reads (millions) | References
Whole genome sequencing | Homozygous SNVs | 15x | Bentley et al., 2008
 | Heterozygous SNVs | 33x | Bentley et al., 2008
 | INDELs | 60x | Feng et al., 2014
 | Genotype calls | 35x | Ajay et al., 2011
 | CNV | 1-8x | Xie et al., 2009; Medvedev at al., 2010
Whole exome sequencing | Homozygous SNVs | 100x (3x local depth) | Clark et al., 2011; Meynert et al., 2013
 | Heterozygous SNVs | 100x (13x local depth) | Clark et al., 2011; Meynert et al., 2013
 | INDELs | not recommended | Feng et al., 2014
Transcriptome Sequencing | Differential expression profiling | 10-25M | Liu Y. et al., 2014; ENCODE 2011 RNA-Seq
 | Alternative splicing | 50-100M | Liu Y. et al., 2013; ENCODE 2011 RNA-Seq
 | Allele specific expression | 50-100M | Liu Y. et al., 2013; ENCODE 2011 RNA-Seq
 | De novo assembly | >100M | Liu Y. et al., 2013; ENCODE 2011 RNA-Seq
DNA Target-Based Sequencing | ChIP-Seq | 10-14M (sharp peaks); 20-40M (broad marks) | Rozowsky et al., 2009; ENCODE 2011 Genome; Landt et al., 2012
 | Hi-C | 100M | Belton, J.M et al., 2012
 | 4C (Circularized Chromosome Confirmation Capture) | 1-5M | van de Weken, H.J.G. et al., 2012
 | 5C (Chromosome Carbon Capture Carbon Copy) | 15-25M | Sanyal A. et al., 2012
 | ChIA-PET (Chromatin Interaction Analysis by Paired-End Tag Sequencing) | 15-20M | Zhang, J. et al., 2012
 | FAIRE-Seq | 25-55M | ENCODE 2011 Genome; Landt et al., 2012
 | DNAse 1-Seq | 25-55M | Landt et al., 2012
DNA Methylation Sequencing | CAP-Seq | >20M | Long, H.K. et al., 2013
 | MeDIP-Seq | 60M | Taiwo, O. et al., 2012
 | RRBS (Reduced Representation Bisulfite Sequencing) | 10X | ENCODE 2011 Genome
 | Bisulfite-Seq | 5-15X; 30X | Ziller, M.J et al., 2015; Epigenomics Road Map
RNA-Target-Based Sequencing | CLIP-Seq | 10-40M | Cho J. et al., 2012; Eom T. et al., 2013; Sugimoto Y. et al., 2012
 | iCLIP | 5-15M | Sugimoto Y. et al., 2012; Rogelj B. et al., 2012
 | PAR-CLIP | 5-15M | Rogelj B. et al., 2012
 | RIP-Seq | 5-20M | Lu Z. et al., 2014
Small RNA (microRNA) Sequencing | Differential Expression | ~1-2M | Metpally RPR et al., 2013; Campbell et al., 2015
 | Discovery | ~5-8M | Metpally RPR et al., 2013; Campbell et al., 2015
https://genohub.com/recommended-sequencing-coverage-by-application/

## Slide 70
Whole Genome sequencing
De novo sequencing
Resequencing
Applications of NGS techniques

## Slide 71
Whole Genome sequencing
Complete characterization of the entire genome.
The rapid drop in sequencing costs allow researchers to sequence a genome quickly.
Applications of NGS techniques

## Slide 72
Whole Genome sequencing
PROS
  Global genome picture, no systematic missing of information
  Useful for diseases that involve multiple genetic phenomena
CONS:
  Can miss variants in the exonics regions due to lower coverage
  Some regions cannot be sequenced/assembled (repetitive and GC rich regions)
  More expensive and time consuming
Applications of NGS techniques

## Slide 73
Targeted sequencing
Only a subset of genes or regions of the genome are isolated and sequenced.
It allows to focus times, expenses and data analysis on specific areas of interest.
Enables sequencing at much higher coverage levels.
Target sequencing panels can be purchased with preselected content or can be custom designed.
Applications of NGS techniques

## Slide 74
Exome sequencing
Identifies variants across a wide range of applications
Achieves comprehensive coverage of coding regions
Provides a cost-effective alternative to whole-genome sequencing (4–5 Gb of sequencing per exome compared to ~90 Gb per whole human genome)
Produces a smaller, more manageable data set for faster, easier analysis compared to whole-genome approaches
Applications of NGS techniques

## Slide 75
RNA-seq Expression Analysis
Sequencing every RNA molecule and profiling the expression of a particular gene by counting the number of time its transcripts have been sequenced.
Sensitivity of sequence based studies is limited by the depth of sequencing
Applications:
  Differential gene expression analysis (DGE)
  Splice variants (resolution at base-level)
  Detection of novel transcripts and isoforms
  Detection of allele specific expression patterns
Applications of NGS techniques

## Slide 76
RNA-seq Expression Analysis
Sequencing every RNA molecule and profiling the expression of a particular gene by counting the number of time its transcripts have been sequenced.
Sensitivity of sequence based studies is limited by the depth of sequencing
Applications:
  Differential gene expression analysis (DGE)
  Splice variants (resolution at base-level)
  Detection of novel transcripts and isoforms
  Detection of allele specific expression patterns
Applications of NGS techniques
TGS

## Slide 77
Very high dynamic range (105 to 107)
Applications of NGS techniques

## Slide 78
ChIP-seq
  analyze protein interactions with DNA: Transcription factors
  ChIP-seq combines chromatin immunoprecipitation (ChIP) with massively parallel DNA sequencing to identify the binding sites of DNA-associated proteins
  used to map global binding sites precisely for any protein of interest
Applications of NGS techniques

## Slide 79
Applications of NGS techniques
Single cell RNA-seq (scRNA-seq)
Allows comparison of the transcriptomes of individual cells
Sequence the transcriptomes of up to tens of thousands of individual cells for a single project
Results depend of protocol used
Special attention to single cell purification
Low signal of weak expressed genes
Required number of cells increases with the complexity of the sample under investigation
Requires specific bioinformatic approaches.

## Slide 80
Applications of NGS techniques
Single cell RNA-seq (scRNA-seq)
Different methods for isolating single cells from a cell suspension:
  Fluorescence-activated cell sorting (FACS)
  Microfluidics: allows separation and cDNA synthesis and transcriptome amplification
  Mechanical micromanipulation/micropipetting
  Laser capture microdissection

## Slide 81
Applications of NGS techniques
Single cell RNA-seq (scRNA-seq)
Also different methods for cDNA transcription….

## Slide 82
Applications of NGS techniques
Single cell RNA-seq (scRNA-seq)
Also different methods for reads mapping….

## Slide 83
Applications of NGS techniques
Single cell RNA-seq (scRNA-seq)
Also different methods for reads mapping….
For differential expression analysis…..

## Slide 84
Applications of NGS techniques
Single cell RNA-seq (scRNA-seq)
https://www.humancellatlas.org/
To create comprehensive reference maps of all human cells

## Slide 85
Metagenomics
Applications of NGS techniques
Is a way to make an inventory of what (DNA) is present in a sample
Two approaches:
  Sequence it all
  Focus on specific conserved sequences (ribosomal genes)
Technology facilitates the study of the consequences of environmental changes and the causes of the changes.

## Slide 86
Introduction to NGS
First Generation Sequencing
Second Generation Sequencing
Third Generation Sequencing
Sequencing generation face to face
Applications of NGS techniques
A (very) brief introduction to DoE

## Slide 87
Why are many life scientists so adverse to thinking about design?
It is common to think that time spent designing experiments would be better spent actually doing experiments
The (statistical) design of experiments is an efficient procedure for planning experiments so that the data obtained can be analyzed to yield valid and objective conclusions
A (very) brief introduction to DoE

## Slide 88
Variability types that play in an experiment:
Planned systematic variability: This is the differences in response between treatments applied.
Noise variability: random noise. Differences between two consecutives measures. We cannot avoid that.
Systematic variability not planned: Produce a systematic variation in the results. A priori the reason is not known. It can be avoided with the randomization and the local control.
A (very) brief introduction to DoE

## Slide 89
A (very) brief introduction to DoE
Basic principles of DoE
Local control
Randomization
Replication
Notes: EC: Replication, with randomization, will provide a basis for estimating the error variance. ... Local control, like replication is yet another device to reduce or control the variation due to extraneous factors and increase the precision of the experiment.
Local control: refers to the fact of keeping all factors or variables that are not being studied constant.
Randomization: random assignment of experimental units. You ensure that differences in between groups are due to the treatment studied etc.
Replication: repetition of the experiment to produce multiple independent trials.
Almost all experiments involve the three basic principles, viz., randomization, replication and local control. These three principles are, in a way, complementary to each other in trying to increase the accuracy of the experiment and to provide a valid test of significance, retaining at the same time the distinctive features of their roles in any experiment. Before we actually go into the details of these three principles, it would be useful to understand certain generic terms in the theory experimental designs and also understand the nature of variation among observations in an experiment.

## Slide 90
Treatment are confounded between sex and batch
Sample | Treatment | Sex | Batch |  | Sample | Treatment | Sex | Batch
1 | A | Male | 1 |  | 1 | A | Male | 1
2 | A | Male | 1 |  | 2 | A | Female | 2
3 | A | Male | 1 |  | 3 | A | Male | 2
4 | A | Male | 1 |  | 4 | A | Female | 1
5 | B | Female | 2 |  | 5 | B | Male | 1
6 | B | Female | 2 |  | 6 | B | Female | 2
7 | B | Female | 2 |  | 7 | B | Male | 2
8 | B | Female | 2 |  | 8 | B | Female | 1
A (very) brief introduction to DoE

## Slide 91
Treatment are confounded between sex and batch
Treatment is well balanced
Sample | Treatment | Sex | Batch |  | Sample | Treatment | Sex | Batch
1 | A | Male | 1 |  | 1 | A | Male | 1
2 | A | Male | 1 |  | 2 | A | Female | 2
3 | A | Male | 1 |  | 3 | A | Male | 2
4 | A | Male | 1 |  | 4 | A | Female | 1
5 | B | Female | 2 |  | 5 | B | Male | 1
6 | B | Female | 2 |  | 6 | B | Female | 2
7 | B | Female | 2 |  | 7 | B | Male | 2
8 | B | Female | 2 |  | 8 | B | Female | 1
A (very) brief introduction to DoE

## Slide 92
Important steps to define before begin the experiment:
Establish the main objectives of the experiment. Avoid collateral problems
Identify all the noise sources: Treatment, experimental errors,…
Allocate each experimental unit which each treatment
Clarify the type of response expected in each treatment
Determinate the number of individuals in each group
Run a pilot study
A (very) brief introduction to DoE

## Slide 93
Important steps to define before begin the experiment:
Establish the main objectives of the experiment. Avoid collateral problems
Identify all the noise sources: Treatment, experimental errors,…
Allocate each experimental unit which each treatment
Clarify the type of response expected in each treatment
Determinate the number of individuals in each group
Run a pilot study
A (very) brief introduction to DoE

## Slide 94
Important steps to define before begin the experiment:
Establish the main objectives of the experiment. Avoid collateral problems
Identify all the noise sources: Treatment, experimental errors,…
Allocate each experimental unit which each treatment
Clarify the type of response expected in each treatment
Determinate the number of individuals in each group
Run a pilot study
A (very) brief introduction to DoE

## Slide 95
Important steps to define before begin the experiment:
Establish the main objectives of the experiment. Avoid collateral problems
Identify all the noise sources: Treatment, experimental errors,…
Allocate each experimental unit which each treatment
Clarify the type of response expected in each treatment
Determinate the number of individuals in each group
Run a pilot study
How the data will be statistically analysed.
A (very) brief introduction to DoE

## Slide 96
What do you need to ask before starting a NGS experiment?
A (very) brief introduction to DoE

## Slide 97
What do I want to sequence? Whole genome, exome, metagenome, epigenome, RNAseq...
How many samples?
Length of read required?
Quality and quantity of starting material?
Size of nucleic acids to sequence
Amount of sequence needed: coverage
What do you need to ask before starting a NGS experiment?
A (very) brief introduction to DoE

## Slide 98
Introduction to NGS
First Generation Sequencing
Second Generation Sequencing
Third Generation Sequencing
Sequencing generation face to face
Applications of NGS techniques
A (very) brief introduction to DoE